Brief

Modern, clean, uncluttered, calming colours, a tough of sophistication. Items to be stored behind doors, in cupboards or in baskets in box shelving. Easy to clean and maintain. Colour to be introduced via big canvas on walls.

Use: designed as one bedroom living, built to entertain and enjoy.

Essential works

a. all 1, 2, 3.1, 3.2, 3.4, shell of 4, with flooring, all 5, flooring and wiring to 6, 7, 8, shell of 9 with flooring, all 10, shell of 11.

None-essential works

b. Fitted wardrobes and worktops in utility room, bedroom and kitchen can be installed later via another party. At least, plumbing and electrics to be installed.

Quotes and timelines to be provided for

c. Turnkey solution: Essential and non-essential works

d. Essential works only

1.0 General items

1.1 Heating smart controlled.

1.2 Door entry and CCTV installation - ring system

1.3 Separate electrics upstairs and downstairs. Submeter.

1.4 Heating to be electric with hot-cold AC units / ?heat exchange / ?electric boiler / ?hot water storage tank - To be advised.

1.5 ?Installation of lime-scale removed from mains water feed

2.0 External building works

2.1 Install mains water feed, with submeter for upstairs

2.2 External tap fitted to rear of building & side, inside lockable unit, for attachment of a hose and cleaning equipment for the exterior building, water from downstairs water feed.

2.3 Lockable unit on side of building to house electric unit and access to water tap

2.4 Explore leak to roof and ?replacement of new valley

2.5 ?replacement of older windows upstairs

2.6 Make good and re-paint exterior

2.7 Install ring system CCTV, lights and door bell

2.8 Remove side entrance barrier to courtyard

2.9 Two sides of Fencing around courtyard at least 1.8m high, attached to the current brick wall

2.10 Courtyard to have installed patio easy-clean flooring

2.11 courtyard overhang: Bracket to be attached for hanging punchbag

2.12 LED lighting to focus on the front facing windows, with privacy film over windows. This will prevent people being able to look in during the day and night, including from double decker bus.

Works to do Ground floor

3.0  General

3.1 Take down all ceilings, sound-proof and install soundproof plasterboards

3.2 Replace all wall plasterboards, and ?pack insulation behind

3.3 Venetian blinds, wood.

3.4 New flooring ?Amtico/karndean

4.0  Utility room

4.1. In one line: Dress dryer, Washing machine, dryer, cupboard - inside 2 clothes bins.  Can all appliances be built into one unit, so that it looks integrated? Double socket at worktop, for e.g. iron.

4.2 Airdresser  Boots

4.3 replace damp floorboards

5.0  Shower-room

5.1  1.5m meter wall - ?glass bricks/thicker shower glass panel

5.2  To install rimless toilet.

5.3  Vanity unit sink with two doors, no pushdown plug. 810mm wide by 500mm

deep. 400mm column to have a small bin. Second column split with 2 shelves; top shelf

with small basket for used hand flannels, lower space for a few products. Space of two

bottles at sink (hand gel and moisturiser)

5.4.  LED mirror.

5.5  Shower: To have a steamer and aroma therapy unit. Victoria plumbing. A fitted seat

seat. Entrance via single or double door, depending on space.

5.6  Behind door - to have 3 hooks for clothing

5.7  Towel heater underneath window next to vanity unit

5.8  On window  - to store hand flannels. To dispose in a small basket tray underneath sink

5.9  Separate Dehumidifier & extractor fan

5.10  Mat white ceiling waterproof panels

5.11  Electric point over sink for dryer/shaver etc

6.0 sitting room

6.1 Tv with LED fire-place

6.2  Space for big pieces canvass art

6.3  White walls

6.4  Corner sofa

Works to do 1st Floor

7.0 General items

7.1 Easily accessed and self-turnable water stop cock to the main supply upstairs and then separate sub-stopcocks in the kitchen & bathroom

8.0 Stairs

8.1 Wood on the vertical, and ?flooring on the horizontal

8.2 New ceiling plasterboards, New bannister, new covings, edges etc

8.3 ?Replace the opaque glass panel for colourful glass blocks.

8.4  sound-proof flooring

9.0  Bedroom

9.1  Check with structural engineer - cracks and load baring capacity

9.2  Next door shared wall (check and pull back looped electric wires)

9.3  Rebuilt part of partition wall

9.4  Sound boards

9.5 Fitted wardrobes

9.6 Double sockets either side of bed

9.7 T.v. and fireplace opposite bed with 2 double sockets

9.8 King-sized bed

9.9 Bedside drawer, chest of drawers, fitted wardrobe

9.10 Wall mounted Tv, underneath LED fire

10.0  Bathroom

10.1  L shaped bathtub with long inbuilt shelf. In wall, t.v.

10.2  Storage shelves/cupboards ?pull out baskets on each shelf

10.3  Sink (no push down plugs) with storage underneath

10.4  Fitted dehumidifier, extractor fan and towel Heater

10.5  Panelled walls and ceiling

10.6  rimless toilet

10.7  sink with vanity unit underneath and LED mirror above sink

10.8  socket for shaver/hairdryer

11.0  Kitchen

11.1  All electric, no gas

11.2  Dehumidifier

11.3  Good quality extractor fan

11.4  All sealed edges so water and dirt cannot get trapped anywhere

11.5  LED mood lighting underneath worktop that is 80cm deep. Standard 60cm deep units.

11.6  ?integrated units

11.7 Colour scheme: Kitchen unit colours. Wickes - Tiverton Bone/Oban Ivory/Sofia

Cashmere. Plane, gloss finish, no handles

11.8  Kitchen Worktop: Wickes Apollo Quartz; Colour: Praline / wood pattern/colour

matching dining table/sofas

Check worktop is heat resistance & hard wearing

11.9  Quooker tap for cold/hot/steam/carbonated/filter water

Featured wall panel - stone type look/feel

https://www.panelcompany.co.uk/products/natural-stone-pennine-shower-panel?variant=40317436690631&currency=GBP&utm_source=google&utm_medium=surfaces&utm_campaign=shopping%20feed&utm_content=free%20google%20shopping%20clicks

An example of a section of featured tiles in bathroom/showeroom

Ikea

Ceiling matt white panels for bathroom, shower-room & Kitchen

section of feathures mosaic tiles in bathroom/showeroom

section of featured mosaic tiles in bathroom/showeroom

Inset long tall shelf, length of bathtub with lighting.

Bottom half contrast panels, but a light colour

Top half ?white or beige style panels.

LED lighting on ceiling

Marble style floor tile

Ceiling matt white panels for bathroom, shower-room & Kitchen